## Products
Model | Description | Characteristics | Power Supply | Compatible With | Active Mode | Price | Product Status | Remarks
CHOR | Optical Standalone, Connectable and System Detector | Similar to the 300-RE but is a battery powered standalone detector (not a system detector). Can also be wire connected (max 8 detectors) per loop. If one detector is activated all the other detectors get activated as well. When used with the IMC-M it functions as a system detector as well. | Uses 9 volt only. | The version CHOR-E is intended to work in a balanced loop with the 9v IMC-M Fire Panel. | Emits siren and flashing LED. Has output relay to activate other devices such as the IMC-M.
300-RE | Optical System Detector | Reacts against 'cold smoke'. Detects smouldering smoke such as from upholstrey and mattresses. Best used in kitchens where 'hot smoke' is present. Upto 20 detectors / loop can be used in a 2-wire system. | Modified power consumption (20 microamps). Can be powered on12v and 24v. | Any fire panel or intruder panel having 12v or 24v power. . | Emits siren and flashing LED. Has output relay to activate other devices such as the IMC-M or any other panel or external siren.
300-RT | Optical (Smoke / Temperature) System Detector | This is similar to the 300-RE but in addition to detecting smoke it also activates on temperature based on rate of rise of 10 degrees / min or beta fixed at 58 degress Celcius. | Can be powered on 12v and 24v. | Any fire panel or intruder panel having 12v or 24v power. . | Emits siren and flashing LED. Has output relay to activate other devices such as the IMC-M or any other panel or external siren.
300-R&T | Optical (Smoke & Teperature) System Detector | Combines the functions of both the 300-RE and 300-RT. Local alarm at the detector level is activated if either smoke or temperature levels are exceeded. If both are activated then the main alarm at the fire panel is activated. | Can be powered on 12v and 24v. | Any fire panel or intruder panel having 12v or 24v power. . | Emits siren and flashing LED. Has output relay to activate other devices such as the IMC-M or any other panel or external siren.
400 | Optical Standalaone Detector | Standalone with built-in hush function. | Uses 220v AC with battery back-up or 9v lithium (10 yrs) / 9v alkaline (1 yr) batteries. | Any object which can use a pot.free relay contact i.e.an extra Sounder or Flashing Beacon! | Emits siren and flashing LED.
410 | Ionical Standalone Detector | Environmentally friendly standalone which reacts to 'hot smoke'. The detector has a radio active source (3.5 kBq. The principle used in ionical detectors is useful in detecting heat sources such as steam or hot air which means that it will not be triggered inadvertently. | Uses 220v AC with battery back-up or 9v lithium (10 yrs) / 9v alkaline (1 yr) batteries. | Any object which can use a pot.free relay contact i.e.an extra Sounder or Flashing Beacon! | Emits siren and flashing LED.
400-W | Optical Wireless Connectable or System Detector | Connectable wireless smoke detector (max 8 nos). Can be used as a system detector with the wireless IMC-W fire panel. | 230v with battery back-up: lithium (10 yrs) / alkaline (1 yr) batteries. | IMC-W Fire Panel or directly to IRF-W transmitter. It can also be connected directly to another 400-W or 410-W. | Emits siren and flashing LED. Has output relay to activate other devices such as the IMC-M.
410-W | Ionical Wireless Connectable or System Detector | Environmentally friendly connnectable wireless smoke detector (max 8 nos) which reacts to 'hot smoke'. The detector has a radio active source (3.5 kBq. The principle used in ionical detectors is useful in detecting heat sources such as steam or hot air which means that it will not be triggered inadvertently. Can be used as a system detector with the wireless IMC-W fire panel. | 230v with battery back-up: lithium (10 yrs) / alkaline (1 yr) batteries. | IMC-W Fire Panel or directly to IRF-W transmitter. It can also be connected directly to another 400-W or 410-W. | Emits siren and flashing LED. Has output relay to activate other devices such as the IMC-M.
IIR-W.433 | Ionical Wireless Connectable Detector (working on 433 MHz) | Used in a group of 2 or more detectors (max 12 no). If 1 detector goes into alarm all the detctors in the group will also be activated. This is a very simple way of protecting an area with more than one floor or with a large built-up area. | Power supply 9v alkaline | Can only be connected with IIR-W.433 or IOR-W.433 detectors. | Emits siren and flashing LED. |  | New Product release 15.March 2006
IOR-W.433 | Optical Wireless Connectable Detector (working on 433 MHz) | Used in a group of 2 or more detectors (max 12 no). If 1 detector goes into alarm all the detctors in the group will also be activated. This is a very simple way of protecting an area with more than one floor or with a large built-up area. | Power supply 9v alkaline | Can only be connected with IIR-W.433 or IOR-W.433 detectors. | Emits siren and flashing LED. |  | New Product release 15.March 2006
IMC-M | 2-Loop Mini Fire Panel | 2-wire loop panel with 8 detectors / loop. | Power supply 230v AC with 24 hrs battery back-up for 16 detectors. | Detectors using a 9v supply | Emits siren and flashing LED. Has output relay to activate other devices if required.
IMC-W | 2-Loop Mini Fire Panel | 1-wire loop and 1-wireless loop with 8 detectors / loop. The wireless loop uses 400-W / 410-W detectors & the wired loop uses 300-RE / 300-RT detectors. | Power supply 230v AC with 24 hrs battery back-up. | Detectors using a 9v supply and wireless detectors via transmitters. | Emits siren and flashing LED. Has output relay to activate other devices if required. NOTE! THIS PANEL IS NOT DEVELOPED YET!
IRS-3 | Aspiration System | Used in extreme environments such as in stables, barns, warehouses. The system can handle 2 zones each covering an area of 1250 m2. | Power supply 230v AC with 24 hrs battery back-up. | Apiration pipes for sampling the airof the area that has to be protected. | Can be used as standalone or connected to Firepanel or intruder system!
IRF-W | Transmitters | Wireless signal transmitter. Connects wireless smoke detectors to fire panel or intruder system. The IRF-W receives wireless signals and relays this signal through a wired connect to a device. The units have an in-built communication test to verify that the device is working. Application uses are: wireless supervision of doors. The door-switch is monitored by the IRF-W and transmits wireless signals to another IRF-W which may be located in a watch room. It is also possible to connect the IRF-W directly to an intruder system or fgire panel. | Power supply 12v DC. | Another IRF-W in Slave or Master mode (when in Master an active comm.check is done). Also used with 400-W and 410-W detectors.